## Report
id | refrigerants | sources | manufacturer | name | series | operation_mode | trl_min | trl_max | trl_description | circuit | n_circuits | circuit_configuration | circuit_infos | sink | min_thermal_capacity | max_thermal_capacity | el_connection_voltage | el_connection_phase | el_connection_frequency | el_connection_power | min_flow_temperature | max_flow_temperature | min_temp_source | max_temp_source | t_hub_max | cop | compressor | n_compressor | filling_quantity | min_load | lifespan | length | width | height | weight | weight_max | weight_description | evaporator_inlet | evaporator_outlet | compressor_regulation | condenser_inlet | condenser_outlet | sound_power | sound_pressure_1m | sound_pressure_10m | installation_type | space_requirements | room_height_requirements | comment | updated | verified | information_source | information_source_archive | information_source_date
1347 | R1233zd(E), R1234ze(E), R601 (Pentan), R601a (Isopentan) | Abwärme (Air), Abwärme (Brine/Water), Abwärme (Steam), feuchte Heißluft (Air), Wasser/Sole (Brine/Water) | Heatlift | Heatlift HA | Heatlift | H&C |  | 8 |  | CLO |  |  |  | Heiße Prozessluft | 2000 | 15000 |  |  |  |  | 90 | 200 | 0 |  |  |  | Turboverdichter | 2-3 |  | 50 | 20 | [8 empty] | VFD & IGV |  |  |  | 85 |  | Preassembled skids < 10 MW. On-site assembly above |  |  | Kundenspezifische Auslegung | 2025-05-19 | TRUE |  |  | 2025-05-19
1348 | R1233zd(E), R1234ze(E), R600a (Isobutan), R601a (Isopentan) | Abwärme (Air), Abwärme (Brine/Water), Abwärme (Steam), Wasser/Sole (Brine/Water) | Heatlift | Heatlift HW | Heatlift | H&C |  | 8 |  | CLO |  |  |  | Heiswasser | 2000 | 15000 | [5 empty] | 210 | 0 |  |  |  | Turboverdichter | 2-3 |  | 50 | 20 | [8 empty] | VFD & IGV |  |  |  | 85 |  | Preassembled skids < 10 MW. On-site assembly above |  |  | Kundenspezifische Auslegung | 2025-05-19 | TRUE |  |  | 2025-05-19
1346 | R1233zd(E), R1234ze(E), R600a (Isobutan), R601a (Isopentan) | Abwärme (Air), Abwärme (Brine/Water), Abwärme (Steam), Geothermie (Brine/Water), Gewässer (Brine/Water), Wasser/Sole (Brine/Water) | Heatlift | Heatlift SG | Heatlift | H&C |  | 8 |  | MIX |  |  |  | Prozessdampf | 2000 | 15000 |  |  |  |  | 90 | 250 | 0 |  |  |  | Turboverdichter | 2-3 |  | 50 | 20 | [8 empty] | VFD & IGV |  |  |  | 85 |  | Preassembled skids < 10 MW. On-site assembly above |  |  | Kundenspezifische Auslegung | 2025-05-19 | TRUE |  |  | 2025-05-19